HORACE

T. G. Perring & J. van Duijn

28 March 2007

Rutherford Appleton Laboratory Chilton Didcot Oxfordshire OX11 0QX

Introduction and installation………………………………………………2

1. Creating HORACE data files……………………………………………4

1.1 Creating a spebin file……………………………………………..4

2. Creating, reading and writing HORACE data structures…..................6

2.1 Creating a Horace data structure………………………………….6

Introduction and installation

No guarantee can be made that the functionality of the routines will not be altered, and that the routines are certainly being regularly improved, extended and added to. Contact t.g.perring@rl.ac.uk or j.van.duijn@rl.ac.uk to offer suggestions for improvements.

To try out HORACE, do the following:

-installation:

- Install OpenGenie on your PC, if it is not already installed.

  - Go to the OpenGenie homepage http://www.isis.rl.ac.uk/OpenGENIE/ and click on ‘Download’ in the bar across the top of the page. You must have OpenGenie installed because its data access routines are needed.

  - Fix the bug responsible for slow access to the DAE and CRPT by following the instructions at http://bugs.isis.rl.ac.uk/long_list.cgi?buglist=111

- Install MSLICE:

  - Download MSLICE from http://www.isis.rl.ac.uk/excitations/mslice/mslice.htm. You must have MSLICE installed as HORACE uses some of its routines.

  - Go to the excitations group master file store (\\britannic\excitations$) go to \mprogs and copy the mslice_extras folder to your computer.

  - Fix the bugs to make MSLICE work with your version of MatLab.

- install MGENIE:

Go to the excitations group master file store (map a network drive to \\britannic\excitations$) go to \mprogs and copy the mgenie folder and all its sub-folders to your computer.

- Install SLICEOMATIC:

Download SLICEOMATIC from http://gtts.ehu.es:8080/Ibon/ISIS/index.htm.

- Install HORACE:

Go to the excitations group master file store (map a network drive to \\britannic\excitations$) go to \mprogs and copy the horace folder and all its sub-folders to your computer.

- In your Matlab startup.m (normally found in be found in c:\Program Files\matlab704\work) add the paths to folders containing the MSLICE, MGENIE, SLICEOMATIC and HORACE code, and (optionally) an .m file to be run when mgenie is initialised (see below) :

% MSLICE

addpath('...\mslice\');

addpath('…\mslice_extras\');

% Mgenie

addpath('…\mgenie\');

addpath('…\mgenie\fortran\');

addpath('…\functions');

genie_setup_file ('C:\Joost\program_files\mprogs\mgenie_setup.m'); % optional

% Slice-o-matic

addpath('…\sliceomatic\');

% HORACE

addpath('C:\Joost\program_files\mprogs\horace\');

addpath('C:\Joost\program_files\mprogs\horace\functions\');

where ‘...’ represents the rest of the path on your computer to the various routines.

- using the routines in Matlab:

Before you can start to use HORACE you will need to initialise MGENIE by typing:

>>mgenie

This can also be put in your startup.m file.

1. Creating HORACE data files

  - Creating the intermediate data file

Before you can start to work with Horace to look at data in more then 2 dimensions you will have to combine your individual spe files into a binary file that is understood by Horace. There are two routines available to do this, gen_hkle and gen_sqe. Both work in the same way.

They read in a number of spe files and use the projection facilities in mslice to calculate the (Q,) components for each pixel, and write these and the intensity to a binary file suitable for use in the Horace routines. They only differ in the way they out put the data:

gen_hkle writes out the data for each spe file in succession, while gen_sqe swrites four copies of the data for each spe file, each copy sorted the data along the different projection axes. The binary file created by gen_sqe is a lot larger then gen_hkle; however extracting data from it is a lot faster. There are two things to note when using these routines:

- If the binary output file with the requested name already exists, the gen_hkle and gen_sqe append the new data to the end of it.

- These routines require that mslice is installed.

Syntax:

Give two mslice projection axes, and construct the third:

>> gen_hkle (msp, data_in_dir, fin, fout, u1, u2)

Adding labels to the three projection axes:

>> gen_hkle (msp, data_in_dir, fin, fout, u1, u2, u1_lab, u2_lab, u3_lab)

Give all three projection axes (must be orthogonal for mslice to work)

>> gen_hkle (msp, data_in_dir, fin, fout, u1, u2, u3)

Adding labels:

>> gen_hkle (msp, data_in_dir, fin, fout, u1, u2, u3, u1_lab, u2_lab, u3_lab)

Here the input parameters for the two routines are the following:

msp	Mslice parameter file. Must have correct .phx file, scattering plane etc. The only information that will be over-written is the .spe file, psi, projection axes.

data_in_dir 	Path to the spe file names given in the file fin below.

- This path overrides any path given as part of the file names in fin

- Set to '' if the paths in the file fin are to be used

fin	File with psi values (deg) and the spe file names to be included

Format of this file: e.g.

90   MAP07491.SPE

89   MAP07492.SPE

:         :

fout 	File name for the binary output file (format described below).

u1	--|   Projection axes in which to label pixel centres [row vectors]

u2      	   |--   e.g.    u1 = [1,0,0], u2=[0,1,0], u3=[0,0,1]

u3    	--|      e.g.    u1 = [1,1,0], u2=[-1,1,0], u3=[0,0,1]

u1_lab	--|   Optional labels for the projection axes (e.g. 'Q_h' or 'Q_{kk}')

u2_lab	   |-- If not provided, then default values will be written

u3_lab	--|

2. Creating, reading and writing HORACE data structures

2.1 Creating a Horace data structure

When plotting a calculation of a dispersion relation or visualising a model for S(Q,) it is very convenient to create an empty dataset which just has bin boundary information. This can be done with the functions d1d, d2d, d3d, d4d to create datasets of the relevant dimensionality.

Syntax:

>> w = d3d (u0,u1,p1,u2,p2,u3,p3)

% u0 is offset of origin of dataset,

u1,u2,u3 vectors define projection axes in rlu,

p1,p2,p3 give start,step and finish for the two axes

>> w = d3d (u0,u1,p1,u2,p2,p3)

% As above, assuming that the missing axis is energy

>> w = d3d (lattice, u0,...)% Give lattice parameters (a,b,c,alf,bet,gam)

>> w = d3d (din)            % din is a structure with valid fields for the dataset

Input parameters in more detail:

----------------------------------

u0      Vector of form [h0,k0,l0] or [h0,k0,l0,en0]

that defines an origin point on the manifold of the dataset.

If en0 omitted, then assumed to be zero.

u1      Vector [h1,k1,l1] or [h1,k1,l1,en1] defining a plot axis. Must

not mix momentum and energy components e.g. [1,1,2], [0,2,0,0] and

[0,0,0,1] are valid; [1,0,0,1] is not.

p1      Vector of form [plo,delta_p,phi] that defines limits and step

in multiples of u1.

u2,p2   For second plot axis

u3,p3   For third plot axis; if u3 is omitted, then it is assumed to

be [0,0,0,1] i.e. the energy axis.

*OR*

din     Input structure with necessary fields to create a 3D dataset.

Type >> help dnd_checkfields for a full description of the fields

2. Summary of Horace commands

2.1 Creating a Horace data structure

The commands are illustrated for the case of a 2D dataset. They have corresponding

Create a dataset

>> w = d2d (u0,u1,p1,u2,p2)