Horace command summary

TGP 20 sept 2008

The help is largely complete. To get help for the cut_sqw, for example, type

>> help cut_sqw

Most functions apply to any dimensionality of cut.

Taking a 0D/1D/2D/3D/4D slice from the data file:

>> wout=cut_sqw (datafile, proj, p1, p2, p3, p4)

Type ‘help cut_sqw’ for full details

Datafile	file name

Proj		structure giving the cut axes directions

p1, p2,p3,p4 	intervals that define binning or integration along each of the four axes of (Q,w) space

Saving a cut to file, reading from file

>> writegrid (w) 		% prompt for file namae

>> writegrid (w,file)

>> w = readgrid 		% prompt for file namae

>> w = readgrid (file)

To print header intormation for a file to the screen:

>> header			% prompt for file

>> header (file)

To display header information for a cut object:, just type its name:

>> wout

Dataset manipulation

>> wout = cut (win, iax_1, iax1_range, iax_2, iax2_range, ...)

Average over an interval along one or more axes of a dataset to produce a dataset object with reduced dimensionality.

>> wout = compact (win)

Squeezes the data range in a dataset to eliminate empty bins

>> wout = permute (win)         	% cycle the axes by unity (equivalent permute(win,[2,3,1]))

>> wout = permute (win, order)  	% general permutation

Permute the order of the plot axes. Syntax the same as the matlab array permute function

>> wout = replicate (win, wref)

Make a higher dimensional dataset from a dataset by replicating the data along the extra dimensions in wref.

>> wout = section (win, [ax_1_lo, ax_1_hi], [ax_2_lo, ax_2_hi], [ax_3_lo, ax_3_hi])

Take a section out of a 3-dimensional dataset. Similar functions for other dimensional datasets

>> wout = smooth (win, width, shape)

Smooth a three dimensional dataset

Function evaluation and fitting

>> wout = func_eval (win, @func, p)

>> wout = func_eval (win, @func, p, 'all')

Evaluate a function over a datset or array of datasets.

>> wout = sqw (win, @sqwfunc, p)

>> wout = sqw (win, @sqwfunc, p, 'all')

Calculate sqw over a dataset or array of datasets.

>> wout = user_func (win, @func, arg1, arg1,....)

Apply a user defined function to a dataset.

>> [wout, fitdata] = fit (win, func, pin)

>> [wout, fitdata] = fit (win, func, pin, pfree)

>> [wout, fitdata] = fit (win, func, pin, pfree, keyword, value)

Fitting routine for a dataset. If passed an array of datasets, then each is fitted independently to the same function.

>> [yout, fitdata] = fit_sqw (win, func, pin)

>> [yout, fitdata] = fit_sqw (win, func, pin, pfree)

>> [yout, fitdata] = fit_sqw (win, func, pin, pfree, keyword, value)

Fitting sqw function to a dataset. If passed an array of datasets, then each is fitted independently to the same function.

Creating sqw files

Generally, you will only want to use one function, gen_sqw, to generate a single sqw file from the input spe files. It creates a collection of intermediate sqw files with extension .tmp, one per spe file, before combining them all into one output file.

This means that it is not very efficient if you want to add just the data of just a few extra spe files. To reduce processing time, you can create intermediate .tmp files for the extra files with a loop calling the function write_spe_to_sqw. Then call write_nsqw_to_sqw to combine all the intermediate .tmp files, both the previously existing ones and the newly created ones.

- To be able to do this you MUST use the same grid size and data range when creating the intermediate files as you did for the initial set of intermediate files. (** would like to be able to inquire of this from the output sqw file created by gen_sqw)

- gen_sqw calls write_spe_to_sqw and write_nsqw_to_sqw

- write_nsqw_to_nsqw is a utility routine that needs to be called if the intermediate .tmp files do not have the same bins. Of limited utility, because you might just as well re-run gen_sqw if you need to do this.

>> gen_sqw (spe_files, par_file, sqw_file, efix, emode, alatt, angdeg,...

u, v, psi, omega, dpsi, gl, gs, grid_size_in, urange_in)

Read one or more spe files and a detector parameter file, and create a single output sqw file

>> write_spe_to_sqw (spe_file, par_file, sqw_file, efix, emode, alatt, angdeg,...

u, v, psi, omega, dpsi, gl, gs, grid_size_in, urange_in)

Read one spe file and a detector parameter file, and create a single output sqw file

>> [grid_size, urange] = write_nsqw_to_nsqw (infiles, outfiles, grid_size_in)

Read a collection of sqw files and sort the pixels from those files onto a common grid. Write the results to disk, one file per input sqw file.

>> write_nsqw_to_sqw (sqw_files_in, sqw_file_out)

Read one or more sqw files with a common grid and write to a single sqw file

Currently the input files are restricted to have been made from a single spe file